## Summary
Client: Acuite Ratings & Research Limited
Project: 708, Lodha Supremus Ithink techno campus Kanjurmarg east 400042 |  | 1395
Sr. No. | item | Rate | Rate / sq.ft. | Remarks
1 | Civil And Plumbing cost
2 | Grid Ceiling 2 by 2
3 | Painting Work
4 | Electrical Work cost
5 | Fire & Safety Work cost
6 | Carpentry work cost
7 | Providing & Installing HVAC VRV System ( Blue star Make ) as per requirement
8 | CCTV Camera and access control work |  | `
9 | Final Cleaning cost with balance material remove and packing material
A | TOTAL
Discount
NET TOTAL
B | GST @ 18%
C | GROSS TOTAL (A+B)

## Civil work
BILL OF QUANTITY FOR Civil And And Plumbing For THE PROPOSED INTERIORS
Sr.No. | Particular | Qty | Unit | Rate | Amount
1 | Door floor spring machine hole packing | 6 | Nos
2 | Door floor spring machine hole making and installation | 6 | Nos

## Carpentry work
BILL OF QUANTITY FOR CARPENTARY & INTERIOR WORKS FOR THE PROPOSED INTERIORS
Sr.No. | Particular | Qty | Unit | Rate | Amount | 9.9 feet height
1 | Partition breaking and removing charges ( Glass Partition | 682.73 | Sft
2 | Partition breaking and removing charges ( Glass Partition and Storage ) | 1001.16 | Sft
3 | AC Duct Removed
4 | Carting Away of Debris
5 | Reception, Conference & Cabin - Providing and fixing full height glazed partitions in 12 mm thick clear toughened glass on Black color channels up, side and down as per requirement Channels ( Glass Company Name saint gobain ) | 777.15 | Sft
6 | Reception, Conference & Cabin - Providing and fixing full height wooden partitions with aluminiup pipe framing with sunmika finish selected by the client ( cost around Rs. 2000 per sheet ) with necessary fittings | 49.5 | Sft
7 | 12mm clear Glass door with necessary branded fittings like floor machine ( Glass Company Name saint gobain ) | 6 | nos
8 | Workstation table 25mm thick table top with 6mm back painted extra cleared glass (white color) MS 50mm seq framing or wooden leg | 205.6 | Sft
9 | Conference room table and boss table ( 25mm thick table top with 6mm extra clear back painted glass finish and wooden base framing ) | 141.5 | Sft
10 | Storage Unit 19mm commercial plywood with sunmika finish ( as per selected by client ) | 64.4 | Sft
11 | Providing Palmate in MR plywood in laminate finish for window wall | 42.9 | SFT
12 | Providing and fixing of Openable panels in Plywood for HVAC inspection and chamber | 50
13 | Pedestal ( 2 drawer ) | 16 | Nos
14 | Single seater sofa | 2 | nos
15 | Office executive chair for workstation | 32 | nos
16 | Conference room chair | 22 | nos
17 | Boss Chair | 1 | nos
18 | Reception area company branding work with acryalic and LED lighting | 1 | nos

## POP Work
BILL OF QUANTITY FOR CARPENTARY & INTERIOR WORKS FOR THE PROPOSED INTERIORS
Sr.No. | Particular | Qty | Unit | Rate | Amount
1 | 2 by 2 tile ceiling removing | 1395.68 | sft |  |  | 28.6
2 | Providing and fixing G.I metal frame suspended Gyp false ceiling | 582.72 |  |  |  | 48.8
3 | Providing and fixing G.I metal frame suspended Grid false ceiling | 812
4 | Providing and applying two coats of approved shade of Luster/Royale emulsion paint of approved make to give an even shade over a coat of suitable primer to Interior walls and concrete surfaces including preparation of the etc., complete. - FOR CEILING & Walls surface to receive the coats | 2027.54

## AC work and fire sprinker & de
BILL OF QUANTITY FOR CARPENTARY & INTERIOR WORKS FOR THE PROPOSED INTERIORS
Sr.No. | Particular | Qty | Unit | Rate | Amount
1 | Need the Blue star VRF system as per drawing
Note : we have 1 daikin machine and 1 LG machine VRF system which we will do buy back system
2 | Sprinkler installation
Note : we have 17th Sprinker installed which need to modified as per drawing
3 | Smoke detector require as per drawing with fire panel

## Electrical
BILL OF QUANTITY FOR CARPENTARY & INTERIOR WORKS FOR THE PROPOSED INTERIORS
Sr.No. | Particular | Qty | Unit | Rate | Amount
Supply and providing of all internal electrical work for main distribution board.
Main Distribution Board
| each access control will have 3 CAT 6 cable from the point to main server rack | 18
| CCTV camera will require CAT 6 cable ( 4 nos ) we have the camera and NVR | 4
| All workstation table will have the 8 model plate with 2 socket 2 switch and 2 USB port | 16
| All TV will have 1 Cat 6 cable | 4
| All Conference room will have 2 CAT 6 cable for (including boss cabin) | 8
All Conference room will have 6 model 2 plate ( 2 socket 1 switch and 1 USB port (including boss cabin)
Electrical Cableing for all ceiling light
Electrical cabeling for All AC outdoor and indoor unit
For AC cable should be 2.5mm and for light 1.5 mm

## SFT Calculator
Breaking partion calculation | widht | Height | Depth
Glass partition | 3 | 8 |  | 24
| 3 | 8 |  | 24
| 6 | 9.9 |  | 59.4
| 6 | 9.9 |  | 59.4
| 6.2 | 9.9 |  | 61.38
| 6 | 9.9 |  | 59.4
| 6 | 9.9 |  | 59.4
| 6 | 9.9 |  | 59.4
| 6 | 9.9 |  | 59.4
| 12 | 7 |  | 84
| 10.5 | 9.9 |  | 103.95
| 5 | 5.8 |  | 29
682.73
Wooden Partition | 4.4 | 3.2 |  | 14.08
| 6 | 4.6 | 19 | 524.4
| 6 | 9.9 |  | 59.4
| 3.6 | 9 |  | 32.4
| 3.6 | 9 |  | 32.4
| 3.6 | 9 |  | 32.4
| 12 | 3 |  | 36
| 1.2 | 9.9 |  | 11.88
| 9 | 2 |  | 18
760.96
Electrical box | 22 | 9.9 | 1 | 217.8
storage unit | 14 | 1 | 1.6 | 22.4
240.2
New Glass Partition installation | 6.5 | 9.9 |  | 64.35
| 11.6 | 9.9 |  | 114.84
| 3.4 | 9.9 |  | 33.66
| 8.2 | 9.9 |  | 81.18
| 11.6 | 9.9 |  | 114.84
| 4 | 9.9 |  | 39.6
| 23.6 | 9.9 |  | 233.64
| 9.6 | 9.9 |  | 95.04
777.15
Wooden partion | 1 | 9.9 |  | 9.9
| 1 | 9.9 |  | 9.9
| 1 | 9.9 |  | 9.9
| 1 | 9.9 |  | 9.9
| 1 | 9.9 |  | 9.9
49.5
Work station table | 13.6 |  | 2 | 27.2
| 13.6 |  | 4 | 54.4
| 13.6 |  | 4 | 54.4
| 11.6 |  | 4 | 46.4
| 11.6 |  | 2 | 23.2
205.6
Conference room table 1 | 9 |  | 4 | 36
Conference room table 2 | 9 |  | 4 | 36
Conference room table 3 | 11.3 |  | 4 | 45.2
Boss Cabin table | 6.6 |  | 3 | 19.8
Boss Cabin table ( Side ) | 3 |  | 1.5 | 4.5
141.5
48.8
Storage Calculation |  |  |  |  | 28.6
| 5.5 | 2 |  | 11 | 1395.68
| 6 | 2 |  | 12
| 3 | 1 |  | 3 | 812.96
| 3 | 1.5 |  | 4.5
| 3 | 1.5 |  | 4.5
| 5 | 1.4 |  | 7
| 5 | 1.4 |  | 7
| 5 | 1.4 |  | 7
| 3 | 1.4 |  | 4.2
| 3 | 1.4 |  | 4.2
64.4
Ceiling calculation
Gypsum Ceiling | 6.4 |  | 9 | 57.6
| 11.6 |  | 10.8 | 125.28
| 11.6 |  | 10.8 | 125.28
| 28.6 |  | 9.6 | 274.56
582.72
Grid Ceiling |  |  |  | 812
Painting
Ceiling |  |  |  | 582.72
Wall Painting | 48.6 | 9.9 |  | 481.14
| 48.6 | 9.9 |  | 481.14
| 28.6 | 9.9 |  | 283.14
| 4 | 5 | 7 | 140
| 6 | 9.9 |  | 59.4
2027.54
Note on F7: Author: